## Balances
Calibration, Verification, Standardization Schedule
Balance Model # | Serial Number | Location | Date Calibrated | Calibrated by: | Next Due | TODO ID

## Timers
Calibration, Verification, Standardization Schedule
Timer | Serial Number | Date Calibrated | Next Due | Comments | TODO ID

## Micropipettors
Calibration, Verification, Standardization Schedule
Pipettor | Serial Number | Date Calibrated | Next Due | Comments | TODO ID

## Barometers
Calibration, Verification, Standardization Schedule
Location | Equipment | ASTM | Requirement | Frequency | Serial Number | Last Calibration Date | Associate | Next Calibration Date | Associate | TMA Date | Next TMA Date | SOP Number and Date | Current ASTM Version | TODO ID

## Thermometers
Calibration, Verification, Standardization Schedule
Thermometer | Serial Number | Date Calibrated | Correction (amount that thermometer reading needs to be adjusted to match calibrator) | Next Due | Comments | TODO ID

## Viscometer Constants
Calibration, Verification, Standardization Schedule
Size | Serial # | Constant | Date Calibrated | Analyst | Annual Verification Date | Analyst | Calibration due date | Section J | TODO ID | NOT DATA
150 | 1149 | 0.0355 @ 40C | 2015-12-08 | DA |  |  | 2016-12-08 |  | 108

## Octane Room
Calibration, Verification, Standardization Schedule
Location | Equipment | ASTM | Requirement | Frequency | Serial Number | Last Calibration Date | Associate | Next Calibration Date | Associate | TMA Date | Next TMA Date | SOP Number and Date | Current ASTM Version | Comments | TODO ID

## Back Lab
Calibration, Verification, Standardization Schedule
Location | Equipment | ASTM | Requirement | Frequency | Serial Number | Last Calibration Date | Associate | Next Calibration Date | Associate | TMA Date | Next TMA Date | SOP Number and Date | Current ASTM Version | TODO ID
|  |  | Diameter of specimen 9.53-12.7mm | quarterly |  | 2016-09-01 | JB | 2016-12-01 | [5 empty] | 54

## Back Hot Room
Calibration, Verification, Standardization Schedule
Location | Equipment | ASTM | Requirement | Frequency | Serial Number | Last Calibration Date | Associate | Next Calibration Date | Associate | TMA Date | Next TMA Date | SOP Number and Date | Current ASTM Version | TODO ID
|  | D4636 | Air Flow 10 L/h | Quarterly | 6-place block | 2016-09-06 | JRW | 2016-12-06 | [5 empty] | 3
|  | D4636-Procedure 2 | Air Flow 5 L/h | Quarterly | 6-place block | 2016-09-06 | JRW | 2016-12-06 | [5 empty] | 2
| C&O | D4636- Procedure 1 | Air Flow 10 L/h | Quarterly | 6-place block | 2016-09-06 | JRW | 2016-12-06 |  | 2015-03-01 | 2016-03-01 | 4000.20.071 2/19/15 | D4636-14 | 1

## Middle Hot Room
Calibration, Verification, Standardization Schedule
Location | Equipment | ASTM | Requirement | Frequency | Serial Number | Last Calibration Date | Associate | Next Calibration Date | Associate | TMA Date | Next TMA Date | SOP Number and Date | Current ASTM Version | TODO ID
|  |  | Secondary Working Standard | monthly |  | 2016-11-02 | JL | 2016-12-02 | [5 empty] | 48

## Middle Lab
Calibration, Verification, Standardization Schedule
Location | Equipment | ASTM | Requirement | Frequency | Serial Number | Last Calibration Date | Associate | Next Calibration Date | Associate | TMA Date | Next TMA Date | SOP Number and Date | Current ASTM Version | TODO ID
|  |  | Check ASTM Copper Strip Corrosion Standard Chart for Fading | annually |  | 2016-09-08 | JB | 2016-12-08 | [5 empty] | 50
|  |  | copper strip dimensions (10.5-14.5mm width, 1.5-3.2mm thick, 70-80mm length) | Quarterly |  | 2016-09-08 | JB | 2016-12-08 | [5 empty] | 49

## Front Lab
Calibration, Verification, Standardization Schedule
Location | Equipment | ASTM | Requirement | Frequency | Serial Number | Last Calibration Date | Associate | Next Calibration Date | Associate | TMA Date | Next TMA Date | SOP Number and Date | Current ASTM Version | TODO ID
|  | D664A | Standardize KOH | bi-weekly | Titrando 905 | 2016-11-18 | NL | 2016-12-02 | [5 empty] | 233
| Calorimeter (BTU) | D240 | Standardize NaOH | monthly | 70N346C3908C | 2016-11-07 | NL | 2016-12-07 |  |  |  | 4000.20.105 12/3/15 | D240-14 | 223
|  |  | Working Standard | Monthly | HFP 362 S/N 9836M0042 | 2016-11-01 | NAT | 2016-12-01 | [5 empty] | 175
|  |  | Working Standard | Monthly | HFP 360 S/N 0136E0444 | 2016-11-01 | NAT | 2016-12-01 | [5 empty] | 172
|  |  | Hexadecane and Toluene | Every 6 months | (627) 26271510 unit 4 | 2016-06-06 | MW | 2016-12-06 | [5 empty] | 138
|  | D3242 | Standardize KOH | monthly |  | 2016-10-26 | JM | 2016-11-26 |  | 2014-12-09 | 2015-12-09 | 4000.20.015 1/30/15 | D3242-11 | 92
|  |  | Standardize KOH | monthly |  | 2016-10-26 | JM | 2016-11-26 | [5 empty] | 91

## BiodieselGC Room
Calibration, Verification, Standardization Schedule
Location | Equipment | ASTM | Requirement | Frequency | Serial Number | Last Calibration Date | Associate | Next Calibration Date | Associate | TMA Date | Next TMA Date | SOP Number and Date | Current ASTM Version | TODO ID

## Specifications
Calibration, Verification, Standardization Schedule
ASTM | Requirement | Current ASTM Version | TODO ID

## Items for multiple tests
Master Form 101359 Calibration, Verification, Standardization Schedule
Location | Equipment | ASTM | Requirement | Frequency | Serial Number | Last Calibration Date | Associate | Next Calibration Date | Associate | TODO ID