## Sheet1
Date | Log-in Time | As. | PU or DEL | PU/DEL Time | Dr. | Date Promised | Date Reported | Time Reported | OT | Sample Type | Report Number / Work Order | Customer | Customer's Sample ID Number | Qty | Test to be performed | Comments | Customer's PO | Associate | Outside Testing location / date | Invoice# | Invoice date | Hours from Notif. To sched. Pickup | Hours from sched. Pickup to report | Days to promise (-=early, +=late)
2016-11-01 | 15:10 | AV | PU | 13:30 | AV | 2016-11-01 | 2016-11-01 | 16:00 |  | Jet A | P161101A | Valero Energy | Tank 103 | 1 | ASTM D4052 | 34 mile round trip : Custumer asked for the result P161031B's API Gravity @ 15C to be verified with a re-sampled sample on site. |  |  |  | pending | 2016-11-30
2016-11-01 | 13:46 | NM | DEL | 13:46 | Fed Ex | N/A | N/A | N/A |  | Waste | P161101B | Oilfield Environmental and Compliance | Truck #2 4094-2A | 1 | ASTMD2879 | Sample was meant to arrive in Arlington for D2897 Vapor Pressure by Isoteniscope... Shipping sample out 11/1/2016... NM |  |  |  | na | na
2016-11-02 | 4:08 | AV | PU | 2:30 | AV | 2016-11-02 | 2016-11-02 | 7:35 | 5.5 | Jet A | P161102A | FHR Bastrop | JL2437 TK570 | 3 | 12 Point | 222 mile round trip on company vehicle |  |  |  | 27133 | 2016-11-15
2016-11-02 | 9:44 | NM | DEL | 9:44 | DEL | 2016-11-02 | 2016-11-02 | 12:41 |  | Jet A | P161102B | Safran | Flight or Test # 180 | 1 | D1319, D86, D3338, D4052 & D7039 |  | 2470 for $630.00 |  |  | 27048 | 2016-11-03
2016-11-02 | 11:01 | NM | DEL | 11:01 | DEL | 2016-11-23 | 2016-11-14 | 14:08 |  | Water | P161102C | CMR Energy | 106 ST3 | 2 | SM5210B, SM5220D, EPA 1664A, SM2540D, EPA 9060, SM4500-NH3, SM4500 H+B, TDS, Sulfate, Chloride, Aluminum, Arsenic, Mercury, Nickel, Selenium, Silver & Zinc | Gina picked up samples and shipped them to Analysys in Austin and Corpus... NM 11/2/16 |  |  |  | 27121 | 2016-11-15
2016-11-02 | 12:46 | NM | DEL | 12:45 | DEL | 2016-11-02 | 2016-11-02 | 16:10 |  | Military Jet A | P161102D | Lazarus Energy | Batch #67-77-11022016 | 1 | 16 Point |  |  |  |  | 27049 | 2016-11-03
2016-11-02 | 12:46 | NM | DEL | 12:45 | DEL | 2016-11-02 | 2016-11-02 | 16:10 |  | Military Jet A | P161102E | Lazarus Energy | Batch #67-77-11022016 Top | 1 | API & Density | Top, Middle & Bottom will be reported with main COA for P161102D |  |  |  | 27049 | 2016-11-03
2016-11-02 | 12:46 | NM | DEL | 12:45 | DEL | 2016-11-02 | 2016-11-02 | 16:10 |  | Military Jet A | P161102F | Lazarus Energy | Batch #67-77-11022016 Middle | 1 | API & Density | Top, Middle & Bottom will be reported with main COA for P161102D |  |  |  | 27049 | 2016-11-03
2016-11-02 | 12:46 | NM | DEL | 12:45 | DEL | 2016-11-02 | 2016-11-02 | 16:10 |  | Military Jet A | P161102G | Lazarus Energy | Batch #67-77-11022016 Bottom | 1 | API & Density | Top, Middle & Bottom will be reported with main COA for P161102D |  |  |  | 27049 | 2016-11-03
2016-11-03 | 12:32 | NM | PU | 12:00 | RW | N/A | 2016-11-03 | 12:45 |  | Street Gasoline | P161103A | VP Racing | Top | 2 | N/A | 15 miles round trip & furnished 6 1L bottles. Dependable Express will pick up and deliver sample to Inspectorate Labs in Pasadena. NM 11/3/16 | 011556 for $850.00 |  |  | 27060 | 2016-11-04
2016-11-03 | 12:32 | NM | PU | 12:00 | RW | N/A | 2016-11-03 | 12:45 |  | Street Gasoline | P161103B | VP Racing | Middle | 2 | N/A | 15 miles round trip & furnished 6 1L bottles. Dependable Express will pick up and deliver sample to Inspectorate Labs in Pasadena. NM 11/3/16 | 011556 for $850.00 |  |  | 27060 | 2016-11-04
2016-11-03 | 12:32 | NM | PU | 12:00 | RW | N/A | 2016-11-03 | 12:45 |  | Street Gasoline | P161103C | VP Racing | Bottom | 2 | N/A | 15 miles round trip & furnished 6 1L bottles. Dependable Express will pick up and deliver sample to Inspectorate Labs in Pasadena. NM 11/3/16 | 011556 for $850.00 |  |  | 27060 | 2016-11-04
2016-11-03 | 16:04 | AV | PU | 14:00 | AV | 2016-11-03 | 2016-11-03 | 16:31 |  | Weekly SQC/CAL | P161103D | Lazarus Energy | N/A | 0 | Calibration & SQC | 1.25 hrs on location (used our Anisole for calibration) |  |  |  | 27059 | 2016-11-04
2016-11-04 | 12:58 | NM | DEL | 13:00 | DEL | 2016-11-04 | 2016-11-04 | 16:20 |  | Military Jet A | P161104A | Lazarus Energy | Batch #67-78-11042016 | 2 | 16 Point |  |  |  |  | 27072 | 2016-11-07
2016-11-04 | 12:58 | NM | DEL | 13:00 | DEL | 2016-11-04 | 2016-11-04 | 16:20 |  | Military Jet A | P161104B | Lazarus Energy | Batch #67-78-11042016 Top | 1 | API & Density | Top, Middle & Bottom will be reported with main COA for P161104A |  |  |  | 27072 | 2016-11-07
2016-11-04 | 12:58 | NM | DEL | 13:00 | DEL | 2016-11-04 | 2016-11-04 | 16:20 |  | Military Jet A | P161104C | Lazarus Energy | Batch #67-78-11042016 Middle | 1 | API & Density | Top, Middle & Bottom will be reported with main COA for P161104A |  |  |  | 27072 | 2016-11-07
2016-11-04 | 12:58 | NM | DEL | 13:00 | DEL | 2016-11-04 | 2016-11-04 | 16:20 |  | Military Jet A | P161104D | Lazarus Energy | Batch #67-78-11042016 Bottom | 1 | API & Density | Top, Middle & Bottom will be reported with main COA for P161104A |  |  |  | 27072 | 2016-11-07
2016-11-04 | 14:48 | NM | DEL | 14:48 | LSO | 2016-11-04 | 2016-11-04 | 16:20 |  | Crude | P161104E | Analysys | 428174 | 1 | RVP |  |  |  |  | 27071 | 2016-11-07
2016-11-04 | 16:47 | NM | DEL | 16:47 | DEL | 2016-11-07 | 2016-11-07 | 8:03 |  | Gasoline | P161104F | Koch Pipeline - San Antonio | Before "B" Dirty | 1 | NACE |  |  |  |  | 27073 | 2016-11-07
2016-11-04 | 16:47 | NM | DEL | 16:47 | DEL | 2016-11-07 | 2016-11-07 | 8:03 |  | Gasoline | P161104G | Koch Pipeline - San Antonio | Before "A" Clean | 1 | NACE |  |  |  |  | 27073 | 2016-11-07
2016-11-05 | 14:26 | AV | PU | 13:45 | AV | 2016-11-05 | 2016-11-05 | 18:44 |  | Jet A | P161105A | Valero Energy | Tank 103 | 3 | 12 Point |  |  |  |  | pending | 2016-11-30
2016-11-05 | 14:26 | AV | PU | 13:45 | AV | 2016-11-05 | 2016-11-05 | 18:47 |  | Transmix | P161105B | NuStar Energy SA | Tank 109 | 1 | Benzene D6277 |  |  |  |  | 27074 | 2016-11-07
2016-11-05 | 14:26 | AV | PU | 12:00 | BS | 2016-11-05 | 2016-11-05 | 18:38 | 4 | Jet A | P161105C | FHR Bastrop | JL2442 TK572 | 3 | 9 Point |  |  |  |  | 27133 | 2016-11-15
2016-11-07 | 16:34 | NM | DEL | 16:34 | NM | 2016-11-08 | 2016-11-08 | 10:17 |  | Crude | P161107A | Gulfmark Energy | Lane #10 82402 101416 | 1 | API & BS&W (D4007) | No Retain Fee... Samples will be picked up by customer after results have been reported... NM 11/7/16 |  |  |  | 27092 | 2016-11-09
2016-11-07 | 16:34 | NM | DEL | 16:34 | NM | 2016-11-08 | 2016-11-08 | 10:17 |  | Crude | P161107B | Gulfmark Energy | Lane #14 82406 101416 | 1 | API & BS&W (D4007) | No Retain Fee... Samples will be picked up by customer after results have been reported... NM 11/7/16 |  |  |  | 27092 | 2016-11-09
2016-11-07 | 16:34 | NM | DEL | 16:34 | NM | 2016-11-08 | 2016-11-08 | 10:17 |  | Crude | P161107C | Gulfmark Energy | Lane #9 82401 101416 | 1 | API & BS&W (D4007) | No Retain Fee... Samples will be picked up by customer after results have been reported... NM 11/7/16 |  |  |  | 27092 | 2016-11-09
2016-11-07 | 16:34 | NM | DEL | 16:34 | NM | 2016-11-08 | 2016-11-08 | 10:17 |  | Crude | P161107D | Gulfmark Energy | #9 82401 11116 | 1 | API & BS&W (D4007) | No Retain Fee... Samples will be picked up by customer after results have been reported... NM 11/7/16 |  |  |  | 27092 | 2016-11-09
2016-11-07 | 16:34 | NM | DEL | 16:34 | NM | 2016-11-08 | 2016-11-08 | 10:17 |  | Crude | P161107E | Gulfmark Energy | #10 82402 11116 | 1 | API & BS&W (D4007) | No Retain Fee... Samples will be picked up by customer after results have been reported... NM 11/7/16 |  |  |  | 27092 | 2016-11-09
2016-11-07 | 16:34 | NM | DEL | 16:34 | NM | 2016-11-08 | 2016-11-08 | 10:17 |  | Crude | P161107F | Gulfmark Energy | #14 82406 11116 | 1 | API & BS&W (D4007) | No Retain Fee... Samples will be picked up by customer after results have been reported... NM 11/7/16 |  |  |  | 27092 | 2016-11-09
2016-11-08 | 16:15 | AV | DEL | 16:15 | AV | 2016-11-30 |  |  |  | Water | P161108A | Thomas Moy & Sons | Josh WW | 1 | Salinity (SM2520B) | Client called back to confirm testing... Gina will pick up samples on 11/10/16 to ship to Analysys... NM 11/9/16
2016-11-08 | 16:15 | AV | DEL | 16:15 | AV | 2016-11-30 |  |  |  | Water | P161108B | Thomas Moy & Sons | Dad WW | 1 | Salinity (SM2520B) | Client called back to confirm testing... Gina will pick up samples on 11/10/16 to ship to Analysys... NM 11/9/16
2016-11-08 | 16:15 | AV | DEL | 16:15 | AV | 2016-11-30 |  |  |  | Water | P161108C | Thomas Moy & Sons | Jess & Will WW | 1 | Salinity (SM2520B) | Client called back to confirm testing... Gina will pick up samples on 11/10/16 to ship to Analysys... NM 11/9/16
2016-11-08 | 16:54 | NM | PU | 15:00 | BS | 2016-11-08 | 2016-11-08 | 20:20 | 3.5 | Jet A | P161108D | FHR Bastrop | JL2447 TK571 | 3 | [5 empty] | 27133 | 2016-11-15
2016-11-09 | 12:30 | NM | DEL | 12:30 | Fed Ex | N/A | N/A | N/A |  | Oil | P161109A | NYCO | L16-0758 | 1 | N/A | Shipment was meant to arrive in Arlington but was received in Floresville. Already contacted Blake and shipping out sample to Arlington on 11/9/16... NM |  |  |  | na | na
2016-11-10 | 17:18 | AV | PU | 15:20 | AV | 2016-11-10 | 2016-11-10 | 17:22 |  | Weekly SQC/CAL | P161110A | Lazarus Energy | N/A | 0 | Calibration & SQC | 1.25 hrs on location (used our Anisole for calibration) |  |  |  | 27099 | 2016-11-11
2016-11-11 | 10:05 | RW | DEL | 10:05 | DEL | on hold |  |  |  | Diesel` | P161111A | French Ellison | Kenworth T680 / 240 413093 | 1 | Karl Fischer | Report is ready for client... waiting for client to return New Customer Form... NM 11/11/16
2016-11-11 | 14:16 | NM | DEL | 14:16 | NM | 2016-11-11 | 2016-11-11 | 16:45 |  | Jet | P161111B | SaFran | Flight or Test # 191 | 1 | D1319, D86, D3338, D4052 & D7039 |  | 2460 for $630.00 |  |  | 27108 | 2016-11-14
2016-11-11 | 17:59 | RW | PU | 16:00 | BS | 2016-11-11 | 2016-11-11 | 21:13 | 4 | Jet | P161111C | FHR Bastrop | Jl2456 Tk 570 | 3 | 9 point |  |  |  |  | 27133 | 2016-11-15
2016-11-13 |  | RW | Del | 8:00 | DEL | 2016-11-13 | 2016-11-13 | 11:30 | 5 | Military Jet A | P161113A | Lazarus Energy | Batch # 67-77-11122016 | 2 | 16 Point |  |  |  |  | 27109 | 2016-11-14
2016-11-13 | 8:00 | RW | Del | 8:00 | DEL | 2016-11-13 | 2016-11-13 | 11:30 | 5 | Military Jet A | P161113B | Lazarus Energy | Top Batch # 67-77-11122016 | 1 | API & Density | Top, Middle & Bottom will be reported with main COA for P161113A |  |  |  | 27109 | 2016-11-14
2016-11-13 | 8:00 | RW | Del | 8:00 | DEL | 2016-11-13 | 2016-11-13 | 11:30 | 5 | Military Jet A | P161113C | Lazarus Energy | Mid Batch # 67-77-11122016 | 1 | API & Density | Top, Middle & Bottom will be reported with main COA for P161113A |  |  |  | 27109 | 2016-11-14
2016-11-13 | 8:00 | RW | Del | 8:00 | DEL | 2016-11-13 | 2016-11-13 | 11:30 | 5 | Military Jet A | P161113D | Lazarus Energy | Bottom Batch # 67-77-11122016 | 1 | API & Density | Top, Middle & Bottom will be reported with main COA for P161113A |  |  |  | 27109 | 2016-11-14
2016-11-13 | 11:29 | AV | PU | 10:29 | AV | 2016-11-13 | 2016-11-13 | 15:21 |  | Jet A | P161113E | Valero Energy | Tank 103 | 3 | 12 Point |  |  |  |  | pending | 2016-11-30
2016-11-14 | 13:26 | NM | PU | 12:00 | BS | 2016-11-14 | 2016-11-13 | 16:58 |  | Jet A | P161114A | FHR Bastrop | JL2456 TK572 | 3 | 9 Point |  |  |  |  | 27133 | 2016-11-15
2016-11-15 | 12:40 | NM | DEL | 12:40 | UPS | 2016-11-16 | 2016-11-16 | 9:23 |  | Jet A | P161115A | Calumet | Tank 425 | 1 | Burn Quality |  |  |  |  | 27139 | 2016-11-17
2016-11-15 | 19:19 | AV | DEL | 19:19 | DEL | 2016-11-15 | 2016-11-15 | 22:54 | 5 | Military Jet A | P161115B | Lazarus Energy | Batch # 67-78-11152016 | 2 | 16 Point |  |  |  |  | 27124 | 2016-11-16
2016-11-15 | 19:19 | AV | DEL | 19:19 | DEL | 2016-11-15 | 2016-11-15 | 22:54 | 5 | Military Jet A | P161115C | Lazarus Energy | Batch # 67-78-11152016 (TOP) | 1 | API & Density | Top, Middle & Bottom will be reported with main COA for P161115B |  |  |  | 27124 | 2016-11-16
2016-11-15 | 19:19 | AV | DEL | 19:19 | DEL | 2016-11-15 | 2016-11-15 | 22:54 | 5 | Military Jet A | P161115D | Lazarus Energy | Batch # 67-78-11152016 (MIDDLE) | 1 | API & Density | Top, Middle & Bottom will be reported with main COA for P161115B |  |  |  | 27124 | 2016-11-16
2016-11-15 | 19:19 | AV | DEL | 19:19 | DEL | 2016-11-15 | 2016-11-15 | 22:54 | 5 | Military Jet A | P161115E | Lazarus Energy | Batch # 67-78-11152016 (BOTTOM) | 1 | API & Density | Top, Middle & Bottom will be reported with main COA for P161115B |  |  |  | 27124 | 2016-11-16
2016-11-16 | 16:21 | NM | DEL | 16:21 | DEL | 2016-11-17 | 2016-11-17 | 11:45 |  | Diesel | P161116A | Doggett Frieghtliner | Unit #240060 | 1 | Karl Fischer & Flash | Vin# 3AKJGLDR2HSGH0794 Mileage: 180 | S101002679 |  |  | 27144 | 2016-11-17
2016-11-17 | 10:16 | RW | DEL | 8:00 | BS | 2016-11-17 | 2016-11-17 | 13:39 |  | Jet A | P161117A | FHR Bastrop | JL2466 TK571 | 3 | 8 point |  |  |  |  | pending | 2016-11-30
2016-11-17 | 13:29 | NM | DEL | 13:29 | DEL | 2016-11-17 | 2016-11-17 | 16:10 |  | Jet A | P161117B | SaFran | End of Campaign | 1 | D1319, D86, D3338, D4052 & D7039 |  | 2505 for $630.00 |  |  | 27156 | 2016-11-21
2016-11-17 | 19:20 | NM | DEL | 19:20 | DEL | 2016-11-17 | 2016-11-17 | 22:43 | 5 | Military Jet A | P161117C | Lazarus Energy | Batch #67-77-11172016 | 2 | 16 Point |  |  |  |  | 27146 | 2016-11-18
2016-11-17 | 19:20 | NM | DEL | 19:20 | DEL | 2016-11-17 | 2016-11-17 | 22:43 | 5 | Military Jet A | P161117D | Lazarus Energy | Batch #67-77-11172016 Top | 1 | API & Density | Top, Middle & Bottom will be reported with main COA for P161117C |  |  |  | 27146 | 2016-11-18
2016-11-17 | 19:20 | NM | DEL | 19:20 | DEL | 2016-11-17 | 2016-11-17 | 22:43 | 5 | Military Jet A | P161117E | Lazarus Energy | Batch #67-77-11172016 Middle | 1 | API & Density | Top, Middle & Bottom will be reported with main COA for P161117C |  |  |  | 27146 | 2016-11-18
2016-11-17 | 19:20 | NM | DEL | 19:20 | DEL | 2016-11-17 | 2016-11-17 | 22:43 | 5 | Military Jet A | P161117F | Lazarus Energy | Batch #67-77-11172016 Bottom | 1 | API & Density | Top, Middle & Bottom will be reported with main COA for P161117C |  |  |  | 27146 | 2016-11-18
2016-11-17 | 19:20 | AV | PU | 16:20 | AV | 2016-11-17 | 2016-11-17 | 21:49 |  | Weekly SQC/CAL | P161117G | Lazarus Energy | N/A | 0 | Calibration & SQC | 1.25 hrs on location (used our Anisole for calibration) |  |  |  | 27147 | 2016-11-18
2016-11-18 | 16:46 | RW | PU | 16:00 | RW | 2016-11-21 | 2016-11-21 | 10:31 |  | Diesel | P161118A | FHR San Antonio | tk130-LineSAT2013111-04 | 1 | T50, Flash | 40 mile round trip
2016-11-18 | 16:46 | RW | PU | 16:00 | RW | 2016-11-21 | 2016-11-21 | 10:31 |  | Diesel | P161118B | FHR San Antonio | tk160-Line-SAT20161111-05 | 1 | T50, Flash | 40 mile round trip
2016-11-18 | 16:46 | RW | PU | 16:00 | RW | 2016-11-21 | 2016-11-21 | 10:31 |  | Diesel | P161118C | FHR San Antonio | TK60-Top-SAT20161111-03 | 1 | Flash | 40 mile round trip
2016-11-18 | 16:46 | RW | PU | 16:00 | RW | 2016-11-21 | 2016-11-21 | 10:31 |  | Diesel | P161118D | FHR San Antonio | TK160-Top-SAT20161111-02 | 1 | Flash | 40 mile round trip
2016-11-18 | 16:46 | RW | PU | 16:00 | RW | 2016-11-21 | 2016-11-21 | 10:31 |  | Diesel | P161118E | FHR San Antonio | TK930-Line-SAN20161111-01 | 1 | T50, Flash | 40 mile round trip
2016-11-18 | 16:46 | RW | PU | 16:00 | RW | 2016-11-21 | 2016-11-21 | 10:31 |  | Diesel | P161118F | FHR San Antonio | TK931-Top-SAN20161108-04 | 1 | Flash | 40 mile round trip
2016-11-18 | 16:46 | RW | PU | 16:00 | RW | 2016-11-21 | 2016-11-21 | 10:31 |  | Diesel | P161118G | FHR San Antonio | TK930-Top-SAN20161108-03 | 1 | Flash | 40 mile round trip
2016-11-19 | 12:09 | AV | PU | 10:30 | BS | 2016-11-19 | 2016-11-19 | 15:43 | 3.5 | Jet A | P161119A | FHR Bastrop | JL2466 TK570 | 3 | 9 Point |  |  |  |  | pending | 2016-11-30
2016-11-20 | 14:39 | AV | PU | 13:40 | AV | 2016-11-20 | 2016-11-20 | 18:03 |  | Jet A | P161120A | Valero Energy | Tank 103 | 3 | 12 Point |  |  |  |  | pending | 2016-11-30

## Sheet2
Date | Login Time | Associate | PU or DEL | PU/DEL Time | Associate | Date Promised | Date Reported | Time Reported | Overtime | Sample Type | Report Number / Work Order | Customer | Customer's Sample ID Number | Qty | Test to be performed | Comments | Customer's PO | Associate | Outside Testing location / date | Invoice number | Invoice date | Hours from Notif. To sched. Pickup | Hours from sched. Pickup to report | Days to promise (-=early, +=late) | reason late, if known
2016-11-01 | 14:52 | KJ | DEL | 14:52 | UPS |  |  |  |  | Asphaltenes | C161101A1 | ASTM ILS | L1_S1 | 1 | ASTM ILS, D2879 | *HOLD* Waiting for payment verification
2016-11-01 | 14:52 | KJ | DEL | 14:52 | UPS |  |  |  |  | Asphaltenes | C161101A2 | ASTM ILS | L1_S2 | 1 | ASTM ILS, D2879 | *HOLD* Waiting for payment verification
2016-11-01 | 14:52 | KJ | DEL | 14:52 | UPS |  |  |  |  | Asphaltenes | C161101A3 | ASTM ILS | L1_S3 | 1 | ASTM ILS, D2879 | *HOLD* Waiting for payment verification
2016-11-01 | 14:52 | KJ | DEL | 14:52 | UPS |  |  |  |  | Asphaltenes | C161101A4 | ASTM ILS | L1_S4 | 1 | ASTM ILS, D2879 | *HOLD* Waiting for payment verification
2016-11-01 | 14:52 | KJ | DEL | 14:52 | UPS |  |  |  |  | Asphaltenes | C161101A5 | ASTM ILS | L1_S5 | 1 | ASTM ILS, D2879 | *HOLD* Waiting for payment verification
2016-11-01 | 14:52 | KJ | DEL | 14:52 | UPS |  |  |  |  | Asphaltenes | C161101A6 | ASTM ILS | L1_S6 | 1 | ASTM ILS, D2879 | *HOLD* Waiting for payment verification
2016-11-01 | 14:52 | KJ | DEL | 14:52 | UPS |  |  |  |  | Asphaltenes | C161101A7 | ASTM ILS | L1_S7 | 1 | ASTM ILS, D2879 | *HOLD* Waiting for payment verification
2016-11-01 | 14:52 | KJ | DEL | 14:52 | UPS |  |  |  |  | Asphaltenes | C161101A8 | ASTM ILS | L1_S8 | 1 | ASTM ILS, D2879 | *HOLD* Waiting for payment verification
2016-11-01 | 14:52 | KJ | DEL | 14:52 | UPS |  |  |  |  | Asphaltenes | C161101A9 | ASTM ILS | L1_S9 | 1 | ASTM ILS, D2879 | *HOLD* Waiting for payment verification
2016-11-01 | 14:52 | KJ | DEL | 14:52 | UPS |  |  |  |  | Asphaltenes | C161101A10 | ASTM ILS | L1_S10 | 1 | ASTM ILS, D2879 | *HOLD* Waiting for payment verification
2016-11-01 | 14:52 | KJ | DEL | 14:52 | UPS |  |  |  |  | Asphaltenes | C161101A11 | ASTM ILS | L1_S11 | 1 | ASTM ILS, D2879 | *HOLD* Waiting for payment verification
2016-11-01 | 14:52 | KJ | DEL | 14:52 | UPS |  |  |  |  | Asphaltenes | C161101A12 | ASTM ILS | L1_S12 | 1 | ASTM ILS, D2879 | *HOLD* Waiting for payment verification
2016-11-01 | 14:52 | KJ | DEL | 14:52 | UPS |  |  |  |  | Asphaltenes | C161101A13 | ASTM ILS | L1_S13 | 1 | ASTM ILS, D2879 | *HOLD* Waiting for payment verification
2016-11-01 | 14:52 | KJ | DEL | 14:52 | UPS |  |  |  |  | Asphaltenes | C161101A14 | ASTM ILS | L1_S14 | 1 | ASTM ILS, D2879 | *HOLD* Waiting for payment verification
2016-11-01 | 14:52 | KJ | DEL | 14:52 | UPS |  |  |  |  | Asphaltenes | C161101A15 | ASTM ILS | L1_S15 | 1 | ASTM ILS, D2879 | *HOLD* Waiting for payment verification
2016-11-01 | 14:52 | KJ | DEL | 14:52 | UPS |  |  |  |  | Asphaltenes | C161101A16 | ASTM ILS | L1_S16 | 1 | ASTM ILS, D2879 | *HOLD* Waiting for payment verification
2016-11-01 | 14:52 | KJ | DEL | 14:52 | UPS |  |  |  |  | Asphaltenes | C161101A17 | ASTM ILS | L1_S17 | 1 | ASTM ILS, D2879 | *HOLD* Waiting for payment verification
2016-11-01 | 14:52 | KJ | DEL | 14:52 | UPS |  |  |  |  | Asphaltenes | C161101A18 | ASTM ILS | L1_S18 | 1 | ASTM ILS, D2879 | *HOLD* Waiting for payment verification
2016-11-01 | 14:52 | KJ | DEL | 14:52 | UPS |  |  |  |  | Asphaltenes | C161101A19 | ASTM ILS | L1_S19 | 1 | ASTM ILS, D2879 | *HOLD* Waiting for payment verification
2016-11-01 | 14:52 | KJ | DEL | 14:52 | UPS |  |  |  |  | Asphaltenes | C161101A20 | ASTM ILS | L1_S20 | 1 | ASTM ILS, D2879 | *HOLD* Waiting for payment verification
2016-11-01 | 14:52 | KJ | DEL | 14:52 | UPS |  |  |  |  | Asphaltenes | C161101A21 | ASTM ILS | L1_S21 | 1 | ASTM ILS, D2879 | *HOLD* Waiting for payment verification
2016-11-01 | 14:52 | KJ | DEL | 14:52 | UPS |  |  |  |  | Asphaltenes | C161101A22 | ASTM ILS | L1_S22 | 1 | ASTM ILS, D2879 | *HOLD* Waiting for payment verification
2016-11-01 | 14:52 | KJ | DEL | 14:52 | UPS |  |  |  |  | Asphaltenes | C161101A23 | ASTM ILS | L1_S23 | 1 | ASTM ILS, D2879 | *HOLD* Waiting for payment verification
2016-11-01 | 14:52 | KJ | DEL | 14:52 | UPS |  |  |  |  | Asphaltenes | C161101A24 | ASTM ILS | L1_S24 | 1 | ASTM ILS, D2879 | *HOLD* Waiting for payment verification
2016-11-01 | 14:52 | KJ | DEL | 14:52 | UPS |  |  |  |  | Asphaltenes | C161101A25 | ASTM ILS | L1_S25 | 1 | ASTM ILS, D2879 | *HOLD* Waiting for payment verification
2016-11-01 | 14:52 | KJ | DEL | 14:52 | UPS |  |  |  |  | Asphaltenes | C161101A26 | ASTM ILS | L1_S26 | 1 | ASTM ILS, D2879 | *HOLD* Waiting for payment verification
2016-11-01 | 14:52 | KJ | DEL | 14:52 | UPS |  |  |  |  | Asphaltenes | C161101A27 | ASTM ILS | L1_S27 | 1 | ASTM ILS, D2879 | *HOLD* Waiting for payment verification
2016-11-01 | 14:52 | KJ | DEL | 14:52 | UPS |  |  |  |  | Asphaltenes | C161101A28 | ASTM ILS | L1_S28 | 1 | ASTM ILS, D2879 | *HOLD* Waiting for payment verification
2016-11-01 | 14:52 | KJ | DEL | 14:52 | UPS |  |  |  |  | Asphaltenes | C161101A29 | ASTM ILS | L1_S29 | 1 | ASTM ILS, D2879 | *HOLD* Waiting for payment verification
2016-11-01 | 14:52 | KJ | DEL | 14:52 | UPS |  |  |  |  | Asphaltenes | C161101A30 | ASTM ILS | L1_S30 | 1 | ASTM ILS, D2879 | *HOLD* Waiting for payment verification
2016-11-01 | 14:52 | KJ | DEL | 14:52 | UPS |  |  |  |  | Asphaltenes | C161101A31 | ASTM ILS | L1_S31 | 1 | ASTM ILS, D2879 | *HOLD* Waiting for payment verification
2016-11-01 | 14:52 | KJ | DEL | 14:52 | UPS |  |  |  |  | Asphaltenes | C161101A32 | ASTM ILS | L1_S32 | 1 | ASTM ILS, D2879 | *HOLD* Waiting for payment verification
2016-11-01 | 14:52 | KJ | DEL | 14:52 | UPS |  |  |  |  | Asphaltenes | C161101A33 | ASTM ILS | L1_S33 | 1 | ASTM ILS, D2879 | *HOLD* Waiting for payment verification
2016-11-01 | 14:52 | KJ | DEL | 14:52 | UPS |  |  |  |  | Asphaltenes | C161101A34 | ASTM ILS | L1_S34 | 1 | ASTM ILS, D2879 | *HOLD* Waiting for payment verification
2016-11-01 | 14:52 | KJ | DEL | 14:52 | UPS |  |  |  |  | Asphaltenes | C161101A35 | ASTM ILS | L1_S35 | 1 | ASTM ILS, D2879 | *HOLD* Waiting for payment verification
2016-11-01 | 14:52 | KJ | DEL | 14:52 | UPS |  |  |  |  | Asphaltenes | C161101A36 | ASTM ILS | L1_S36 | 1 | ASTM ILS, D2879 | *HOLD* Waiting for payment verification
2016-11-01 | 14:52 | KJ | DEL | 14:52 | UPS |  |  |  |  | Asphaltenes | C161101A37 | ASTM ILS | L1_S37 | 1 | ASTM ILS, D2879 | *HOLD* Waiting for payment verification
2016-11-01 | 14:52 | KJ | DEL | 14:52 | UPS |  |  |  |  | Asphaltenes | C161101A38 | ASTM ILS | L1_S38 | 1 | ASTM ILS, D2879 | *HOLD* Waiting for payment verification
2016-11-01 | 14:52 | KJ | DEL | 14:52 | UPS |  |  |  |  | Asphaltenes | C161101A39 | ASTM ILS | L1_S39 | 1 | ASTM ILS, D2879 | *HOLD* Waiting for payment verification
2016-11-01 | 14:52 | KJ | DEL | 14:52 | UPS |  |  |  |  | Asphaltenes | C161101A40 | ASTM ILS | L1_S40 | 1 | ASTM ILS, D2879 | *HOLD* Waiting for payment verification
2016-11-01 | 15:00 | JL | N/A | N/A | N/A | 2016-11-30 |  |  |  | Grease | C160817F_Add1 | Shell Technology | 396299 | 1 | 28-day Hardness Compatibility (AAR M-942)
2016-11-01 | 15:00 | JL | N/A | N/A | N/A | 2016-11-30 |  |  |  | Grease | C160830E_Add1 | Shell Technology | 396300 (16-0281) | 1 | 28-day Hardness Compatibility (AAR M-942)
2016-11-02 | 12:01 | SR | DEL | 10:30 | UPS | 2016-11-16 | 2016-11-18 | 16:55 |  | Crude/Tar | C161102A | Oilfield Environmental and Compliance | 1604094-02 | 1 | ASTM D2879 Isoteniscope |  |  |  |  | 27159 | 2016-11-21
2016-11-03 | 10:00 | KJ | DEL | 10:00 | UPS | 2016-11-03 | 2016-11-03 | 14:37 |  | Mineral Oil | C161103A | Avatar Corporation | Citation 110H Lot 1-K0116 | 2 | ASTM D93 Pensky-Martens Closed Cup Flash Point |  |  |  |  | 27064 | 2016-11-04
2016-11-03 | 11:14 | KJ | DEL | 11:14 | UPS | 2016-11-16 | 2016-11-17 | 11:02 |  | Mineral Oil | C161103B1 | Lubrizol | OS369718 - TRNKZ632B | 0.5 | OXIDATION STABILITY (IP280) |  |  |  |  | 27154 | 2016-11-18
2016-11-03 | 11:14 | KJ | DEL | 11:14 | UPS | 2016-11-16 | 2016-11-11 | 17:22 |  | Mineral Oil | C161103B2 | Lubrizol | OS369718 - TRNC51FBC | 0.5 | LATENT HEAT OF VAPORIZATION |  |  |  |  | 27115 | 2016-11-14
2016-11-03 | 11:14 | KJ | DEL | 11:14 | UPS | 2016-11-16 | 2016-11-17 | 11:02 |  | Mineral Oil | C161103C1 | Lubrizol | OS369719 - TRNL587FC | 0.5 | OXIDATION STABILITY (IP280) |  |  |  |  | 27154 | 2016-11-18
2016-11-03 | 11:14 | KJ | DEL | 11:14 | UPS | 2016-11-16 | 2016-11-11 | 17:22 |  | Mineral Oil | C161103C2 | Lubrizol | OS369719 - TRNY57ZTB | 0.5 | LATENT HEAT OF VAPORIZATION |  |  |  |  | 27115 | 2016-11-14
2016-11-03 | 11:14 | KJ | DEL | 11:14 | UPS | 2016-11-16 | 2016-11-17 | 11:02 |  | Hydrocarbon Polymer | C161103D1 | Lubrizol | OS369720 - TRNKZN6XB | 0.5 | OXIDATION STABILITY (IP280) |  |  |  |  | 27154 | 2016-11-18
2016-11-03 | 11:14 | KJ | DEL | 11:14 | UPS | 2016-11-16 | 2016-11-11 | 17:22 |  | Hydrocarbon Polymer | C161103D2 | Lubrizol | OS369720 - TRNTK7CNB | 0.5 | LATENT HEAT OF VAPORIZATION |  |  |  |  | 27115 | 2016-11-14
2016-11-03 | 11:14 | KJ | DEL | 11:14 | UPS | 2016-11-16 | 2016-11-17 | 11:02 |  | Hydrocarbon Polymer | C161103E1 | Lubrizol | OS369721 - TRNV7BKWB | 0.5 | OXIDATION STABILITY (IP280) |  |  |  |  | 27154 | 2016-11-18
2016-11-03 | 11:14 | KJ | DEL | 11:14 | UPS | 2016-11-16 | 2016-11-11 | 17:22 |  | Hydrocarbon Polymer | C161103E2 | Lubrizol | OS369721 - TRNFVL8SB | 0.5 | LATENT HEAT OF VAPORIZATION |  |  |  |  | 27115 | 2016-11-14
2016-11-03 | 11:14 | KJ | DEL | 11:14 | UPS | 2016-11-16 | 2016-11-17 | 11:02 |  | Mineral Oil | C161103F1 | Lubrizol | OS369722 - TRNH1DQSB | 0.5 | OXIDATION STABILITY (IP280) |  |  |  |  | 27154 | 2016-11-18
2016-11-03 | 11:14 | KJ | DEL | 11:14 | UPS | 2016-11-16 | 2016-11-11 | 17:22 |  | Mineral Oil | C161103F2 | Lubrizol | OS369722 - TRN2J5GGC | 0.5 | LATENT HEAT OF VAPORIZATION |  |  |  |  | 27115 | 2016-11-14
2016-11-03 | 11:14 | KJ | DEL | 11:14 | UPS | 2016-11-16 | 2016-11-17 | 11:02 |  | Mineral Oil | C161103G1 | Lubrizol | OS369723 - TRNRK0C7B | 0.5 | OXIDATION STABILITY (IP280) |  |  |  |  | 27154 | 2016-11-18
2016-11-03 | 11:14 | KJ | DEL | 11:14 | UPS | 2016-11-16 | 2016-11-11 | 17:22 |  | Mineral Oil | C161103G2 | Lubrizol | OS369723 - TRNHGTTPB | 0.5 | LATENT HEAT OF VAPORIZATION |  |  |  |  | 27115 | 2016-11-14
2016-11-03 | 11:14 | KJ | DEL | 11:14 | UPS | 2016-11-16 | 2016-11-18 | 17:05 |  | Mineral Oil | C161103H1 | Lubrizol | OS369724 - TRNRXK6DB | 0.5 | OXIDATION STABILITY (IP280) |  |  |  |  | 27160 | 2016-11-21
2016-11-03 | 11:14 | KJ | DEL | 11:14 | UPS | 2016-11-16 | 2016-11-11 | 17:22 |  | Mineral Oil | C161103H2 | Lubrizol | OS369724 - TRNCZKTLC | 0.5 | LATENT HEAT OF VAPORIZATION |  |  |  |  | 27115 | 2016-11-14
2016-11-03 | 11:14 | KJ | DEL | 11:14 | UPS | 2016-11-16 | 2016-11-18 | 17:05 |  | Mineral Oil | C161103I1 | Lubrizol | OS369725 - TRN7SBJ4B | 0.5 | OXIDATION STABILITY (IP280) |  |  |  |  | 27160 | 2016-11-21
2016-11-03 | 11:14 | KJ | DEL | 11:14 | UPS | 2016-11-16 | 2016-11-11 | 17:22 |  | Mineral Oil | C161103I2 | Lubrizol | OS369725 - TRN82PDSB | 0.5 | LATENT HEAT OF VAPORIZATION |  |  |  |  | 27115 | 2016-11-14
2016-11-03 | 12:01 | KJ | DEL | 12:01 | UPS | 2016-11-08 | 2016-11-03 | 17:45 |  | F-671 | C161103J | Ideas, Inc. | F-671 | 1 | ICP Metals - Boron |  |  |  |  | 27065 | 2016-11-04
2016-11-03 | 12:01 | KJ | DEL | 12:01 | UPS | 2016-11-16 | 2016-11-11 | 17:40 |  | Perfume | C161103K | Procter & Gamble Meg Hall | 250g Sample of Tuscany HS LC 2016C Exp-16-DB5737 | 1 | ASTM D93 (Flash Point - Pensky-Martens), ASTM D2879 (Vapor Pressure by Isoteniscope), 49 CFR Part 173, Appendix H to Part 173(Method of Testing for Sustained Combustibility) |  |  |  |  | 27114 | 2016-11-14
2016-11-04 | 11:39 | KJ | DEL | 11:39 | Fedex | 2016-11-16 |  |  |  | Mineral Oil | C161104A1 | Lubrizol | OS369341 - TRNF9VPPB | 1 | OXIDATION STABILITY (IP280)
2016-11-04 | 11:39 | KJ | DEL | 11:39 | Fedex | 2016-11-16 | 2016-11-11 | 17:22 |  | Mineral Oil | C161104A2 | Lubrizol | OS369341 - TRN3M1J9B | 1 | LATENT HEAT OF VAPORIZATION (Isoteniscope) ASTM D2879 |  |  |  |  | 27115 | 2016-11-14
2016-11-04 | 11:39 | KJ | DEL | 11:39 | Fedex | 2016-11-16 |  |  |  | Mineral Oil | C161104B1 | Lubrizol | OS369342 - TRN05D44B | 1 | OXIDATION STABILITY (IP280)
2016-11-04 | 11:39 | KJ | DEL | 11:39 | Fedex | 2016-11-16 | 2016-11-11 | 17:22 |  | Mineral Oil | C161104B2 | Lubrizol | OS369342 - TRNF466YB | 1 | LATENT HEAT OF VAPORIZATION (Isoteniscope) ASTM D2879 |  |  |  |  | 27115 | 2016-11-14
2016-11-04 | 11:39 | KJ | DEL | 11:39 | Fedex | 2016-11-16 |  |  |  | Mineral Oil | C161104C1 | Lubrizol | OS369346 - TRNCBBJHC | 1 | OXIDATION STABILITY (IP280)
2016-11-04 | 11:39 | KJ | DEL | 11:39 | Fedex | 2016-11-16 | 2016-11-11 | 17:22 |  | Mineral Oil | C161104C2 | Lubrizol | OS369346 - TRN7Y3L9C | 1 | LATENT HEAT OF VAPORIZATION (Isoteniscope) ASTM D2879 |  |  |  |  | 27115 | 2016-11-14
2016-11-04 | 11:39 | KJ | DEL | 11:39 | Fedex | 2016-11-16 |  |  |  | Mineral Oil | C161104D1 | Lubrizol | OS369351 - TRNL406QB | 1 | OXIDATION STABILITY (IP280)
2016-11-04 | 11:39 | KJ | DEL | 11:39 | Fedex | 2016-11-16 | 2016-11-11 | 17:22 |  | Mineral Oil | C161104D2 | Lubrizol | OS369351 - TRN7BFB7D | 1 | LATENT HEAT OF VAPORIZATION (Isoteniscope) ASTM D2879 |  |  |  |  | 27115 | 2016-11-14
2016-11-07 | 10:05 | KJ | DEL | 10:05 | Fedex | 2016-11-08 | 2016-11-08 | 9:35 |  | Calibration Fluid | C161107A | Woodward Governor | Calibration Fluid MIL-PRF-7024F Type II | 1 | Woodward Slate |  |  |  |  | 27093 | 2016-11-09
2016-11-07 | 10:17 | KJ | DEL | 10:17 | UPS | 2016-11-07 | 2016-11-07 | 15:49 |  | Lubricant | C161107B | G96 Products Inc | G96 CLP B1047 Nov 2016 | 1 | -40C Visc without evaporation |  |  |  |  | 27086 | 2016-11-08
2016-11-07 | 11:48 | SR | DEL | 11:30 | UPS | 2016-11-08 | 2016-11-07 | 13:54 |  | Solvent | C161107C1 | Crystal-Clean | Dehy 10/31/16 | 1 | Sulfur |  |  |  |  | 27087 | 2016-11-08
2016-11-07 | 11:48 | SR | DEL | 11:30 | UPS | 2016-11-08 | 2016-11-07 | 13:54 |  | Solvent | C161107C2 | Crystal-Clean | Dehy 11/1/16 | 1 | Sulfur |  |  |  |  | 27087 | 2016-11-08
2016-11-07 | 11:48 | SR | DEL | 11:30 | UPS | 2016-11-08 | 2016-11-07 | 13:54 |  | Solvent | C161107C3 | Crystal-Clean | Dehy 11/2/16 | 1 | Sulfur |  |  |  |  | 27087 | 2016-11-08
2016-11-08 | 10:17 | KJ | DEL | 10:17 | Fedex | 2016-11-11 | 2016-11-10 | 14:54 |  | Sand | C161108A1 | HA International LLC | K12457A | 1 | EPA 3050B/6010 Potassium |  |  |  |  | 27100 | 2016-11-11
2016-11-08 | 10:17 | KJ | DEL | 10:17 | Fedex | 2016-11-11 | 2016-11-10 | 14:54 |  | Sand | C161108A2 | HA International LLC | K12457B | 1 | EPA 3050B/6010 Potassium |  |  |  |  | 27100 | 2016-11-11
2016-11-08 | 10:17 | KJ | DEL | 10:17 | Fedex | 2016-11-11 | 2016-11-10 | 14:54 |  | Sand | C161108A3 | HA International LLC | K12457C | 1 | EPA 3050B/6010 Potassium |  |  |  |  | 27100 | 2016-11-11
2016-11-08 | 10:17 | KJ | DEL | 10:17 | Fedex | 2016-11-11 | 2016-11-10 | 14:54 |  | Sand | C161108A4 | HA International LLC | K12457D | 1 | EPA 3050B/6010 Potassium |  |  |  |  | 27100 | 2016-11-11
2016-11-09 | 10:29 | KJ | DEL | 10:29 | UPS | 2016-11-09 | 2016-11-09 | 11:25 |  | Oil | C161109A | Scientific Control Laboratories | 110129 11-04-16 F&F Oil #3012 | 1 | ASTM D6304-7 Karl Fischer Method |  |  |  |  | 27097 | 2016-11-10
2016-11-09 | 10:32 | SR | DEL | 10:15 | Fedex | 2016-11-11 | 2016-11-10 | 8:52 |  | Calibration Fluid | C161109B | Woodward Governor | Pump Farm Stand 233 Cell 7 11/8/2016 | 1 | Woodward Slate |  |  |  |  | 27096 | 2016-11-10
2016-11-09 | 10:55 | KJ | DEL | 10:55 | Fedex | 2016-11-23 | 2016-11-18 | 17:11 |  | Resin Former Prime | C161109C1 | Neville Chemical Company | Resin Former Prime | 1 | ASTM D2879 (Vapor Pressure by Isoteniscope) |  |  |  |  | 27161 | 2016-11-21
2016-11-09 | 10:55 | KJ | DEL | 10:55 | Fedex | 2016-11-23 | 2016-11-18 | 17:11 |  | NEVPENE Neutralized Polyoil | C161109C2 | Neville Chemical Company | NEVPENE Neutralized Polyoil | 1 | ASTM D2879 (Vapor Pressure by Isoteniscope) |  |  |  |  | 27161 | 2016-11-21
2016-11-09 | 10:55 | KJ | DEL | 10:55 | Fedex | 2016-11-23 | 2016-11-18 | 17:11 |  | NEVPENE Crude Blend | C161109C3 | Neville Chemical Company | NEVPENE Crude Blend | 1 | ASTM D2879 (Vapor Pressure by Isoteniscope) |  |  |  |  | 27161 | 2016-11-21
2016-11-09 | 10:55 | KJ | DEL | 10:55 | Fedex | 2016-11-23 | 2016-11-18 | 17:11 |  | Eastman Resin Oil-C | C161109C4 | Neville Chemical Company | Eastman Resin Oil-C | 1 | ASTM D2879 (Vapor Pressure by Isoteniscope) |  |  |  |  | 27161 | 2016-11-21
2016-11-09 | 10:55 | KJ | DEL | 10:55 | Fedex | 2016-11-23 | 2016-11-18 | 17:11 |  | NEVCHEM Neutralized Polyoil | C161109C5 | Neville Chemical Company | NEVCHEM Neutralized Polyoil | 1 | ASTM D2879 (Vapor Pressure by Isoteniscope) |  |  |  |  | 27161 | 2016-11-21
2016-11-09 | 10:55 | KJ | DEL | 10:55 | Fedex | 2016-11-23 | 2016-11-18 | 17:11 |  | Crude Blend Distillate (CBD) | C161109C6 | Neville Chemical Company | Crude Blend Distillate (CBD) | 1 | ASTM D2879 (Vapor Pressure by Isoteniscope) |  |  |  |  | 27161 | 2016-11-21
2016-11-09 | 10:55 | KJ | DEL | 10:55 | Fedex | 2016-11-23 | 2016-11-18 | 17:11 |  | Nissecki THI | C161109C7 | Neville Chemical Company | Nissecki THI | 1 | ASTM D2879 (Vapor Pressure by Isoteniscope) |  |  |  |  | 27161 | 2016-11-21
2016-11-09 | 10:55 | KJ | DEL | 10:55 | Fedex | 2016-11-23 | 2016-11-18 | 17:11 |  | Crude Mixed Solvent (CMS) | C161109C8 | Neville Chemical Company | Crude Mixed Solvent (CMS) | 1 | ASTM D2879 (Vapor Pressure by Isoteniscope) |  |  |  |  | 27161 | 2016-11-21
2016-11-09 | 10:55 | KJ | DEL | 10:55 | Fedex | 2016-11-23 | 2016-11-18 | 17:11 |  | Cymtech BFG Resin Former | C161109C9 | Neville Chemical Company | Cymtech BFG Resin Former | 1 | ASTM D2879 (Vapor Pressure by Isoteniscope) |  |  |  |  | 27161 | 2016-11-21
2016-11-10 | 10:29 | SR | DEL | 10:15 | Fedex | 2016-11-11 | 2016-11-11 | 17:00 |  | Calibration Fluid | C161110A | Woodward Governor | RVC Cali Fluid 11/9/16 | 1 | Woodward Slate |  |  |  |  | 27116 | 2016-11-14
2016-11-11 | 10:44 | KJ | DEL | 10:44 | UPS | 2016-11-16 | 2016-11-17 | 14:19 |  | Oil | C161111A | Ameren | Mobil 1 Formula 10W-30 | 1 | Viscosity: 61 cSt +/- 6.1 cSt at 40 deg C, Contaminants: Visual - Clear & Bright, Water Content: Crackle Test: No pops detected, Total Base Number: 11+/- 1.1 KOH/g, Zinc wt% or ppm: 900 ppm - 1100 ppm, Flash Point: 232 deg C minimum (greater than), Pour Point: -45 dec C max (less than) | Send report to Kara for review before sending to client |  |  |  | 27153 | 2016-11-18
2016-11-11 | 11:01 | KJ | DEL | 11:01 | UPS | 2016-11-30 |  |  |  | Lubricant | C161111B | Lubrizol | OS363348 - TRN1NNRBC | 1 | OXIDATION STABILITY (IP280) |  | ARIBA
2016-11-14 | 12:14 | KJ | DEL | 12:14 | UPS | 2016-11-21 | 2016-11-17 | 7:32 |  | Tectyl 435D | C161114A1 | Daubert Chemical | Tectyl 435D M256013 | 1 | Sulfated Residue ASTM D874 |  | 63807 |  |  | 27141 | 2016-11-17
2016-11-14 | 12:14 | KJ | DEL | 12:14 | UPS | 2016-11-30 |  |  |  | Tectyl 437D | C161114A2 | Daubert Chemical | Tectyl 437D M256353 | 1 | Oxygen Absorption Pressure Drop, Sulfated Residue ASTM D874 |  | 63807
2016-11-15 | 10:40 | SR | DEL | 10:30 | FEDEX | 2016-11-18 | 2016-11-15 | 14:20 |  | lubricant | C161115A | Lubrizol | OS#369678 TRNK61GHB | 1 | ASTM D877 |  |  |  |  | 27127 | 2016-11-16
2016-11-15 | 10:40 | SR | DEL | 10:30 | FEDEX | 2016-11-18 | 2016-11-15 | 14:20 |  | lubricant | C161115B | Lubrizol | OS#370670 TRNHJF13B | 1 | ASTM D877 |  |  |  |  | 27127 | 2016-11-16
2016-11-15 | 12:20 | RW | DEL | 12:18 | UPS | 2016-11-30 | 2016-11-18 | 17:16 |  | Condensate | C161115C | Kinder Morgan Cochin | Enterprise P/L | 1 | D2879 Latent Heat of Vaporization |  |  |  |  | 27162 | 2016-11-21
2016-11-15 | 12:20 | RW | DEL | 12:18 | UPS | 2016-11-30 | 2016-11-18 | 17:16 |  | Condensate | C161115D | Kinder Morgan Cochin | Explorer P/L | 1 | D2879 Latent Heat of Vaporization |  |  |  |  | 27162 | 2016-11-21
2016-11-16 | 10:35 | RW | DEL | 10:13 | FEDEX | 2016-11-30 |  |  |  | Lubricant | C161116A1 | Lubrizol | OS370100 - TRN9JXGPB | 1 | IP 280 | ARIBA | CO5065
2016-11-16 | 10:35 | RW | DEL | 10:13 | FEDEX | 2016-11-30 | 2016-11-18 | 15:04 |  | Lubricant | C161116A2 | Lubrizol | OS370100 - TRNSRSMCC | 1 | D2879 - LATENT HEAT VAPOR | ARIBA | CO5065 |  |  | 27163 | 2016-11-21
2016-11-16 | 10:35 | RW | DEL | 10:13 | FEDEX | 2016-11-30 |  |  |  | Lubricant | C161116B1 | Lubrizol | OS370101 - TRN5BL12B | 1 | IP 280 | ARIBA | CO5065
2016-11-16 | 10:35 | RW | DEL | 10:13 | FEDEX | 2016-11-30 | 2016-11-18 | 15:04 |  | Lubricant | C161116B2 | Lubrizol | OS370101 - TRNR8W5KB | 1 | LATENT HEAT VAPOR D2879 | ARIBA | CO5065 |  |  | 27164 | 2016-11-21
2016-11-16 | 10:35 | RW | DEL | 10:13 | FEDEX | 2016-11-30 |  |  |  | lubricant | C161116C | Lubrizol | OS370076 - TRNZRHG3B | 1 | IP 280 | ARIBA | CO5065
2016-11-16 | 10:58 | RW | DEL | 10:13 | FEDEX | 2016-11-18 | 2016-11-17 | 17:38 |  | water | C161116D | Nalco - Kevin O'Brien | N85488 | 1 | Freeze Point, Pour Point |  |  |  |  | 27152 | 2016-11-18
2016-11-16 | 10:58 | RW | DEL | 10:13 | FEDEX | 2016-11-18 | 2016-11-17 | 17:38 |  | Oil | C161116E | Nalco - Kevin O'Brien | TX16883 (LN6652-113B) | 1 | Freeze Point, Pour Point, Flash Point |  |  |  |  | 27152 | 2016-11-18
2016-11-16 | 12:35 | RW | DEL | 12:30 | FEDEX | 2016-11-30 |  |  |  | lube | C161116F | Calumet Lubricants | HC 3000 201610260012 | 1 | ASTM D2879 vapor pressure | Sandy Koza credit card: 708-862-9100, sandy.koza@calumetspecialty.com; 14000 S Mackinaw Burnham, IL 60633
2016-11-16 | 12:35 | RW | DEL | 12:30 | FEDEX | 2016-11-30 |  |  |  | lube | C161116G | Calumet Lubricants | HC 6000 201609290037 | 1 | ASTM D2879 vapor pressure | Sandy Koza credit card: 708-862-9100, sandy.koza@calumetspecialty.com; 14000 S Mackinaw Burnham, IL 60633
2016-11-17 | 10:30 | SR | DEL | 10:30 | FEDEX | 2016-11-30 |  |  |  | grease | C161117A1 | NYE Synthetic Lubricants | Rheolube 374A Lot# ED161019 | 1 | ASTM D5969 salt water corrosion resistance - 5% synthetic seawater
2016-11-17 | 10:30 | SR | DEL | 10:30 | FEDEX | 2016-11-30 |  |  |  | grease | C161117A2 | NYE Synthetic Lubricants | Rheolube 374A Lot# KF161115 | 1 | ASTM D5969 salt water corrosion resistance - 5% synthetic seawater
2016-11-17 | 10:30 | SR | DEL | 10:30 | FEDEX | 2016-11-30 |  |  |  | grease | C161117A3 | NYE Synthetic Lubricants | Rheolube 374A Lot# KF161019 | 1 | ASTM D5969 salt water corrosion resistance - 5% synthetic seawater
2016-11-17 | 10:30 | SR | DEL | 10:30 | FEDEX | 2016-11-30 |  |  |  | grease | C161117A4 | NYE Synthetic Lubricants | Braycote 3214 Lot# 529653 | 1 | ASTM D5969 salt water corrosion resistance - 5% synthetic seawater
2016-11-17 | 10:30 | SR | DEL | 10:30 | FEDEX | 2016-11-30 |  |  |  | grease | C161117A5 | NYE Synthetic Lubricants | Braycote 3214 Lot# 10613 | 1 | ASTM D5969 salt water corrosion resistance - 5% synthetic seawater
2016-11-17 | 10:30 | SR | DEL | 10:30 | FEDEX | 2016-11-30 |  |  |  | grease | C161117A6 | NYE Synthetic Lubricants | Braycote 3214 Lot# 529653 | 1 | ASTM D5969 salt water corrosion resistance - 5% synthetic seawater
2016-11-17 | 12:08 | RW | DEL | 12:07 | FEDEX | 2016-11-22 | 2016-11-21 | 14:03 |  | Jet A | C161117B | Leidos/NASA Glenn Research Center | Jet A | 1 | Moisture, % Hydrogen, % Carbon | email invoice to ngrcsubinv@leidos.com | PO# 010144814
2016-11-17 | 12:08 | RW | DEL | 12:07 | FEDEX | 2016-11-22 | 2016-11-21 | 14:03 |  | #2 Fuel | C161117C | Leidos/NASA Glenn Research Center | #2 Fuel | 1 | Sulfur, % Hydrogen, % Carbon | email invoice to ngrcsubinv@leidos.com | PO# 010144814
2016-11-18 | 10:35 | SR | DEL | 10:30 | FEDEX | 2016-11-18 | 2016-11-18 | 11:46 |  | Oil | C161118A | Scientific Control Laboratories | 110271 | 1 | Water content by KF D6304 |  |  |  |  | 27165 | 2016-11-21
2016-11-18 | 10:35 | SR | DEL | 10:30 | FEDEX | 2016-11-28 | 2016-11-21 | 12:36 |  | organic liquid | C161118B | Air Water & Soil Laboratories | 16K0548-01 | 1 | Water content by KF D6304, Heat of Combustion D240
2016-11-18 | 10:35 | SR | DEL | 10:30 | FEDEX | 2016-11-28 |  |  |  | Lubricant | C161118C | Daubert Chemical | MIL-P-46002D Grade 1 Batch#M256547 | 1 | Viscosity at -40C and 40C, 22HR Evaporation Loss, 40C Viscosity after Evap Loss, Precipitation Number D91, Pour Point D97 |  | 63807
2016-11-18 | 11:20 | RW | DEL | 10:35 | UPS | 2016-11-30 |  |  |  | lubricant | C161118D | Lubrizol | OS360333 - TRN9V4W3B | 1 | IP 280
2016-11-18 | 11:25 | RW | DEL | 10:35 | UPS | 2016-11-23 |  |  |  | Flocculant | C161118E1 | Nalco - Kevin O'Brien | N83400 | 1 | VOC EPA 24 | COC says water; it does not look like water
2016-11-18 | 11:25 | RW | DEL | 10:35 | UPS | 2016-11-23 |  |  |  | Flocculant | C161118E2 | Nalco - Kevin O'Brien | N83904 | 1 | VOC EPA 24
2016-11-21 | 11:26 | KJ | DEL | 11:26 | UPS | 2016-11-23 |  |  |  | Solid | C161121A1 | EA Group | 1611-00245 001 | 1 | ASTM D808 Total Chlorides, ASTM D129 (Total Sulfur)
2016-11-21 | 11:26 | KJ | DEL | 11:26 | UPS | 2016-11-23 |  |  |  | liquid | C161121A2 | EA Group | 1611-00245 002 | 1 | ASTM D240 (BTU, Heat of Combustion - Gross), ASTM D445 (Viscosity, Kinematic @ 38°C / 100°F), ASTM D808 Total Chlorides, ASTM D129 (Total Sulfur), ASTM D93 (Flash Point - Pensky-Martens), ASTM E203 (Water Content - Karl Fischer - Volumetric)
2016-11-21 | 11:26 | KJ | DEL | 11:26 | UPS | 2016-11-23 |  |  |  | liquid | C161121A3 | EA Group | 1611-00245 003 | 1 | ASTM D240 (BTU, Heat of Combustion - Gross), ASTM D445 (Viscosity, Kinematic @ 38°C / 100°F) , ASTM D129 (Total Sulfur), ASTM D808 Total Chlorides, ASTM D93 (Flash Point - Pensky-Martens), ASTM E203 (Water Content - Karl Fischer - Volumetric)
2016-11-21 | 11:26 | KJ | DEL | 11:26 | UPS | 2016-12-02 |  |  |  | solid/liquid mixture | C161121A4 | EA Group | 1611-00245 004 | 1 | ASTM D240 (BTU, Heat of Combustion - Gross), ASTM D808 Total Chlorides, ASTM D129 (Total Sulfur), ASTM D2983 @ 100F, ASTM D93 (Flash Point - Pensky-Martens), ASTM E203 (Water Content - Karl Fischer - Volumetric) | Not enough sample for ASTM D2983. Stuart is emailing to ask for more sample
2016-11-21 | 11:47 | KJ | DEL | 11:47 | FEDEX | 2016-11-22 |  |  |  | Solvent | C161121B1 | Heritage Crystal Clean LLC | DEHY 11/16 | 1 | Sulfur
2016-11-21 | 11:47 | KJ | DEL | 11:47 | FEDEX | 2016-11-22 |  |  |  | Solvent | C161121B2 | Heritage Crystal Clean LLC | DEHY 11/7 | 1 | Sulfur
2016-11-21 | 11:47 | KJ | DEL | 11:47 | FEDEX | 2016-11-22 |  |  |  | Solvent | C161121B3 | Heritage Crystal Clean LLC | DEHY 11/15 | 1 | Sulfur
2016-11-21 | 12:43 | KJ | DEL | 12:43 | FEDEX | 2016-12-02 |  |  |  | Mineral Oil | C161121C | Lubrizol | OS370615 - TRN21V6YB | 1 | LATENT HEAT OF VAPORIZATION